## Table 1
BIT POLYTECHNIC BALASORE LESSON PLAN- 2022/23 (WINTER)
Discipline : CIVIL ENGG. |  | Semester: 5th |  | Name of the Teaching Faculty : SUSHREE SANGITA MALLIK
Subject : WATER SUPPLY & WASTE WATER ENGG. (TH.4) |  | No. of Days / per week class allotted : 05 |  | Semester From date : 15.09.2022 To Date : 17.01.2023
MONTH | Week | Day | Unit | Topics
|  |  | UNIT-I | Introduction to Water Supply, Quantity and Quality of water
SEPTEMBER | 3rd | 1st | 1.1 & 1.2 | Necessity of treated water supply,Per capita demand, variation in demand and factors affecting demand
|  | 2nd | 1.3 | Methods of forecasting population, Numerical problems using different methods
|  | 3rd | 1.3 | Methods of forecasting population, Numerical problems using different methods
|  | 4th | 1.3 | Methods of forecasting population, Numerical problems using different methods
|  | 5th | 1.4 | Impurities in water – organic and inorganic, Harmful effects of impurities
| 4th | 1st | 1.5 | Analysis of water –physical, chemical and bacteriological
|  | 2nd | 1.2 | Water quality standards for different uses
|  |  | UNIT-II | Sources and Conveyance of water
|  | 3rd | 2.1 & 2.2 | Surface sources – Lake, stream, river and impounded reservoir Underground sources – aquifer type & occurrence – Infiltration gallery, infiltration well, springs, well
|  | 4th | 2.3 | Yield from well- method s of determination, Numerical problems using yield formulae ( deduction excluded)
|  | 5th | 2.4 | 2.4 Intakes – types, description of river intake, reservoir intake, canal intake
CLASS TEST-II
| 5th | 1st | 2.5 & 2.6 | 2.5 Pumps for conveyance & distribution – types, selection, installation. 2.6 Pipe materials – necessity, suitability, merits & demerits of each type
|  | 2nd | 2.7 | 2.7 Pipe joints – necessity, types of joints, suitability, methods of jointing Laying of pipes – method
|  |  | UNIT-III | Treatment of water
|  | 3rd | 3.1 | Flow diagram of conventional water treatment system
|  | 4th | 3.2.1 | Treatment process -Aeration ; Necessity
|  | 5th | 3.2.2 | Plain Sedimentation : Necessity, working principles, Sedimentation tanks – types, essential features, operation & maintenance
OCTOBER | 1st | 1st | 3.2.2 | Sedimentation tanks – types
|  | 2nd | 3.2.3 | Sedimentation with coagulation: Necessity, principles of coagulation, types of coagulants
|  | 3rd | 3.2.3 | Flash Mixer, Flocculator, Clarifier (Definition and concept only)
|  | 4th | 3.2.4 | Filtration : Necessity, principles, types of filters Slow Sand Filter
|  | 5th | 3.2.4 | Rapid Sand Filter and Pressure Filter – essential features
| 2nd | 1st | 3.2.5 | Disinfection : Necessity, methods of disinfection
|  | 2nd | 3.2.5 | Chlorination – free and combined chlorine demand, available chlorine, residual chlorine, pre-chlorination, break point chlorination, super- chlorination
|  | 3rd | 3.2.6 | Softening of water – Necessity
|  | 4th | 3.2.6 | Methods of softening – Lime soda process and Ion exchange method (Concept Only)
INTERNAL ASSESSMENT
|  |  | UNIT-IV | Distribution system And Appurtenance in distribution system:
|  | 5th | 4.1 | General requirements, types of distribution system-gravity, direct and combined
| 3rd | 1st | 4.2 & 4.3 | Methods of supply – intermittent and continuous,Distribution system layout – types, comparison, suitability
|  | 2nd | 4.3 & 4.4 | Distribution system layout – types, comparison, suitability 4.4 Valves-types, features, uses, purpose-sluice valves, check valves, air valves, scour valves, Fire hydrants, Water meters
|  | 3rd | 4.4 | Valves-types, features, uses, purpose-sluice valves, check valves, air valves, scour valves, Fire hydrants, Water meters
|  |  | UNIT-V | W/s plumbing in building :
|  | 4th | 5.1 | Method of connection from water mains to building supply
|  | 5th | 5.2 | General layout of plumbing arrangement for water supply in single storied and multi-storied building as per I.S. code.
| 4th |  | UNIT-VI | WASTE WATER ENGINEERING(Introduction ):
|  | 1st | 6.1 & 6.2 | Aims and objectives of sanitary engineering.Definition of terms related to sanitary engineering
|  | 2nd | 6.3 | Systems of collection of wastes– Conservancy and Water Carriage System – features, comparison, suitability
|  |  | UNIT-VII | Quantity and Quality of sewage
|  | 3rd | 7.1 | Quantity of sanitary sewage – domestic & industrial sewage, variation in sewage flow, numerical problem on computation quantity of sanitary sewage
|  | 2nd | 7.2 | Computation of size of sewer, application of Chazy’s formula,
|  | 4th | 7.2 & 7.3 | Limiting velocities of flow : self-cleaning and scouring 7.3 General importance, strength of sewage,
|  | 5th | 7.3 & 7.4 | Characteristics of sewage-physical, chemical & biological 7.4 Concept of sewage- sampling, tests for – solids, pH, dissolved oxygen, BOD, COD
| 1st |  | UNIT-VIII | Sewerage system
|  | 1st | 8.1 | Types of system-separate, combined, partially separate , features, comparison between the types, suitability
|  | 2nd | 8.2 | Shapes of sewer – rectangular, circular, avoid-features, suitability
|  | 3rd | 8.3 | Laying of sewer-setting out sewer alignment
|  |  | UNIT-IX | Sewer appurtenances and Sewage Disposal:
|  | 4th | 9.1 | Manholes and Lamp holes – types, features, location, function
|  | 5th | 9.2 & 9.3 | Inlets, Grease & oil trap – features, location, function,Storm regulator, inverted siphon – features, location, functio
NOVEMBER | 2nd | 1st | 9.4 | Disposal on land – sewage farming, sewage application and dosing, sewage sickness-causes and remedies
|  | 2nd | 9.5 | Disposal by dilution – standards for disposal in different types of water bodies, self purification of stream
|  |  | UNIT-X | Sewage treatment :
|  | 3rd | 10.1 | Principles of treatment, flow diagram of conventional treatment
|  | 4th | 10.2 | Primary treatment – necessity, principles, essential features, functions
| 3rd | 1st | 10.2 | Primary treatment – necessity, principles, essential features, functions
|  | 2nd | 10.3 | Secondary treatment – necessity, principles, essential features, functions
|  | 3rd | 10.3 | Secondary treatment – necessity, principles, essential features, functions
|  | 4th | 10.3 | Secondary treatment – necessity, principles, essential features, functions
| 4th | 1st |  | CLASS TEST-II
|  |  | UNIT-XI | Sanitary plumbing for building :
|  | 2nd | 11.1 | Requirements of building drainage, layout of lavatory blocks in residential buildings, layout of building drainage
|  | 3rd | 11.2 | Plumbing arrangement of single storied & multi storied building as per I.S. code practice
|  | 4th | 11.3 | Sanitary fixtures – features, function, and maintenance and fixing of the fixtures – water closets, flushing cisterns, urinals, inspection chambers, traps, antisyphonage pipe
|  | 1st |  | Revision
|  | 2nd |  | Revision
DECEMBER | 12th | 3rd |  | Revision
|  | 4th |  | Revision
|  | 5th |  | Revision